**Chemometrics Of Liquid –Liquid Extraction Of Metal Complexes. A Review I**

**⃰⃰**Nworie, F.S and Nwabue, F.I.

Department of Industrial Chemistry, Ebonyi State University, Abakaliki, Ebonyi State, Nigeria.

⃰⃰nworie.felix@gmail.com

**Abstract:** Solvent extraction is an excellent technique for preconcentration and separation of metal complexes. The method is simple, rapid, and highly selective, can be manipulated, prevents co-precipitation, provides solutions to theoretical problems and is wide in scope. Parameters such as distribution ratio, percentage recovery, Sandel sensitivity, molar absorptivity, limit of detection, limit of quantification, separation factor, partition coefficient, pH, concentration of chelating, organic, salting out and masking agents, temperature, equilibration time, colour stability and thermodynamic constants are optimized in solvent extraction of metal chelates. Accuracy, precision, reliability and relationship among and between extraction variables, equilibria of complexation and mechanism of complex formation of metal cations with chelating agents are always optimized and mathematically and statistically analyzed. Chemometrics has been found as a valuable tool for result comparison, building of models and as well a predictive tool in analytical research.

**[**Nworie, F.S and Nwabue, F.I. **Chemometrics Of Liquid –Liquid Extraction Of Metal Complexes. A Review I.** *Nat Sci* 2014;12(5):87-96]. (ISSN: 1545-0740). <http://www.sciencepub.net/nature>. 12

**Keywords**. Chemometrics, liquid-liquid extraction,complex formation, extraction variables.

1. **Introduction**

Liquid- liquid extraction also known as solvent extraction is the extraction of an analyte or analytes from one liquid phase into another. According to (Seader and Henley, 1998), solvent extraction is widely applied for bulk separations where appreciable quantity of analytes is considered. Consequently, liquid- liquid extraction involves the partitioning of the analyte between two immiscible liquid phases, achieved by shaking them in a simple separatory funnel.

As stated by (Nwabue and Okafor, 1992), the application of solvent extraction to inorganic problems started in the second half of 19th century when peligot discovered that ether could extract uranium(IV) from nitric acid, and cobalt could be separated from nickel, gold from platinium and iron from its many thiocyanates in ether. Nwabue(1982) noted that solvent extraction and partitioning deals with separating compounds based on their relative solubilities in two different immiscible liquids usually an organic solvent and water.

Mendham, Denney, Barnes and Thomas (2000) observed that there are two phases in solvent extraction, the aqueous phase (pure water, acidic, basic or buffered solution) and an organic solvent. Thus, the selectivity and efficiency of separation is controlled by the choice of the two phases. Solvent extraction of metal complexes is based on the interaction of cations with suitable organic chelating agents to give a neutral and less hydrophilic species.

The importance of liquid- liquid extraction of metal complexes and its application as an excellent separation technique is based on the fact that the method is simple, does not waste time (speedy), wide in scope, does not involve co-precipitation, highly selective through judicious use of reagent and pH, chelate is sometimes coloured therefore enhancing the isolation and determination of the metal. In addition, liquid- liquid extraction of metal chelates is crucial because it provides solutions to important theoretical problems related to composition and stability of metal complexes.

**Organic Phase:**  The choice of solvent for solvent extraction must be based on the immiscibility of the solvent with water. So that two distinct layers are formed. Mendham et al (2000) noted that the solubility should not exceed 10% since no two solvents are completely insoluble in each other. Also the polarity of the solvent is crucial since the more polar the solute, the more polar the extracting solvent needs to be. Thus, like attracts like applies. **Aqueous Phase:** If the aqueous phase does not initially contain the analyte (when acting as the extracting solvent), there is need for purity to be maintained to prevent contamination of the sample.

In a situation where modifiers such as buffers, acids, bases, complexing agents and salting out agents are added, high purity need to be maintained. Rydberg, Musikas and Chopin (1992) noted that in a situation where the analyte is initially present in the aqueous phase, modification is needed to ensure efficient extraction of analyte into the organic phase. This accordingly is achieved by making the analyte more hydrophobic and less hydrophilic since the more non-polar the material the greater the tendency to transfer into the more non-polar (organic) layer and the more ionic the material the greater the tendency to transfer into the more polar layer.

Mushini, Veluri, Volety and Samba (2010) in their study of neutral network modeling used as a chemometric tool for kinetic investigation noted that chemometrics encompasses chemistry, advanced mathematics, statistics and information theory. Mendham et al (2000), Adam’s (1995) and massart, vandeginste, Deming, Michotte and Kaufman (1998) viewed chemometrics as the application of mathematical and statistical methods to design, optimization and measurement of chemical information provided by the analysis of important data. Therefore, chemometrics applies classical statistical procedures in the design, optimization of measurement and analysis of result and information generated from data.

Chemometrics is an interdisciplinary area which emerged in late 1970’s and includes subfields such as kinetometrics, environmetrics, pharmacometrics ,synthometrics, qualimetrics and speciometrics ( Kowalski,2001 and Massart, Vandeginste, Buydens, Jong, Lewi and Smeyers- verbeke, 1997).

**Objectives Of The Study**

The general objectives of this study is to x-ray the parameters in solvent extraction of metal chelates and as well discuss exhaustively the common statistical approaches to data analysis, and optimization of measurement and information from data.

The specific objectives are

1. To discuss the various parameters involved in solvent extraction of metal chelates.

2. To discuss equilibria and themodynamics of metal chelates extraction.

3. To list and explain the various inorganic extraction systems and factors that influence extraction of metal chelates.

4. To provide basic statistical analysis of data generated during measurement and optimize information from the data.

**1.2 Factors That Favour Solvent Extraction Of Inorganic Species**

In the extraction of inorganic species, the analyte exists as an inorganic ion. To ensure efficient extraction of the analyte into the organic phase, certain measures are taken to modify the species. These measures according to Mendham et al (2000) are (1) Formation of chelated complexes using suitable chelating organic liqands (2) formation of ion associated complexes.

The rationale behind this is to change the small hydrated metal or anion into a species more hydrophobic and as such more soluble in the organic phase. Thus, the complex formed between the metal ions and the organic ligand being hydrophobic dissolves in organic solvents.

Rydberg et al (1992) noted that quantitatively if

Where L= ligand, M = Metal cation and number of moles of the ligand. Then, the assumption is that

1. The metal complex and the organic reagent exist in their various phases as simple unassociated molecules.
2. The extraction process is not governed by solvation
3. The concentration of the solute is generally low and also exists as uncharged molecules. Thus, the behaviour of the solution in the presence of the solute departs to a little degree from ideality.

The dissociation of the chelating organic reagent (ligand) HL in the aqueous layer is

The complexation of the metal cation and the ligand, and the dissociation of the ligand in the aqueous phase are equilibrium reactions and can be expressed in terms of thermodynamic constant. These are illustrated below.

1. Dissociation constant of complex

3

2. Dissociation constant of ligand,

4

3. Partition coefficient of complex,

5

4 Partition coefficient of reagent,

6

Note:c=complex,r=reagent,

**1.3 Measures Of Effectiveness In Liquid- Liquid Extraction**

In solvent extraction, the aqueous solution comprises aqueous feed (solution before extraction) and extraction raffinate (solution after extraction) phases, whereas the organic solvent consists of solvent feed and loaded solvent phases.

The metal ions are present in the aqueous phase as aquo-metal complexes. The organic diluent makes up organic phase. The ionic metal complexes distribute itself between the two liquid phases as neutral metal species. However, sometimes, the neutral metal chelate is highly soluble in the organic phase and insoluble in the aqueous phase.

1. **Distribution ratio( )**

Distribution ratio is the ratio of the concentration of a solute in the aqueous phase to that in the aqueous phase. In other words, it is the ratio of the amount of metal extracted as complex into the organic phases to that remaining in all forms in the aqueous phase. Distribution ratio for a particular set of experimental conditions is constant.

7

or 8

Where o= organic phase, w = aqueous phase,

[M] = concentration of metal, [ = concentration of complex and [Mn+] = concentration of metal cation.

**(b)** **Percentage recovery**

The percentage recovery in solvent extraction depends on the amount of the metal species transferred to the organic phase. Studies (Nwabue, 1981) have shown that high value of indicates high value of the percentage recovery consequently, % recovery where the volume of the organic phase (o) and

aqueous phase (w) is not the same.

9

where the volume of the aqueous and organic phases is the same,then

10

If log of equation 10 is taken and rearranged then

11

As a measure of accuracy and sensitivity

12

**(c)Separation factor (Sf)**

This describes the measure of the ability of the system to separate two solutes. It is the ratio of one distribution ratio to another. Therefore for two metal species, the effectiveness or degree of separation is established as

13

Where = Distribution ratio of A and

Distribution ratio of B

1. **Partition Coefficient**: Partition coefficient is the ratio of the activities of the organic phase to that of the aqueous phase.

This is in accordance with the Nernst distribution law which states that if a substance is soluble in both liquid phases (i.e. molecular state of the solute is the same in both phases) and at a particular temperature, the ratio of the activities of the material in each phase is a constant. Thus,

partition coefficient,

14

Where as = Activities of the material.

However, partition coefficient considers a material in only one form notwithstanding there may be more than one species of the metal in both phases. Consequently the classical phase rule of Gibb’s can be applied.

15

This is to give room for as many numbers of phases as possible. P is number of phases and F is the degrees of freedom.

1. **Sandel Sensitivity**: This is the weight of a substance that can be determined in a column of solution having unit cross section.

16

but sensitivity describes the detector response per unit concentration of analyte. It shows the number of micrograms of elements converted to the coloured product in a column of solution having unit cross section. Sensitivity is proportional to molar absoptivity (intrinsic) and reproducibility: Hence,

17

expressed as µg/mL/Cm2

1. **Molar absorptivity**: This describes the ratio of absorbance to that of concentration of the metal ion. It is a measure of the sensitivity of a given analytical method and an analytical tool for comparing two or more methods.
2. 18
3. **Limit of Detection (L.O.D)**

This shows the concentration or amount of analyte which produces a signal equal to twice the baseline noise. It is inversely proportional to sensitivity. L.O.D describes the lowest detectable signal for a given analytical process.

19

or 20

where

= Standard deviation of intercept of regression equation and S, the slope of the corresponding calibration curve. The limit of detection and limit of quantification has been applied by (Lutf Ullah, Nafisur, Syed, Hanan and Masha’El Mansoor ,2009) in the comparison of two analytical methods.

(**H) Limit of quantification (L.O.Q)**

This describes the minimum level at which the solution of the analyte can be readily quantified with accuracy.

21

22

**(1)** **Stability constant of complexes**

Stability constant also known as binding or formation constant is an equilibrium constant for complex formation in solution. Information needed for the calculation of concentration of the complexes in solution is provided.

Mendham et al (2000) maintained that the stability constant measures the propensity of the interaction between the constituent of aqueous feed (reagents that come together to form the complex, metal ion solution and chelating agent).

For a reaction between an aquo-metal cation and a ligand.

23

24

The concentration of water in dilute solutions is constant i.e. []= constant hence,

25

where m and g are stoichiometric coefficients of metal and ligand respectively.

The commonest method for determining stability constant of complexes is the job’s method. In this method, absorbances are plotted against the reagent molar fractions (Juan, Eva, Ana and Lims,2003). If CM is concentration of metal and CL concentration of ligand prepared according to literature (Nworie et al, 2013)and x reagent molar fractions, 26

is a constant. X max represents the curve with maximum signal for a particular value of molar fraction. Hence,

27

The ratio g: m represents the stoichiometry of the complex.

For proper calculation of stability constant, the degree of dissociation of the complex , has to be evaluated, Thus,

28

Where Smax = Analytical signal of the maximum of the experimental curve.

So= Theoritical value of the analytical signal under condition of maximum complexation.

Alternatively, the stability constant can be estimated

where is known according to

29

Where Smax= analytical signal of the maximum at experimental curve that represents the maximum quantity of the complex that is formed with a degree of dissociation.

Sip= analytical signal corresponding to the intersection point of the straight lines (where maximum quantity of complex is formed i.e.

Stability constant of complexes were determined by( Samir, Saber and Abdulrahman, 2010; Zumdal, 1997 and El-Bindary, El-Sonbati and Abd El-Kader, 2003) using the same and related methods.

**(J) Robustness**: This is the ability for an analytical procedure to remain unaffected by minute or small and deliberate method parameter variation. It indicates whether a method is reliable for a routine laboratory analysis. Robustness can be evaluated by analyzing same sample and varying accompanying parameters or variables. This is done by changing one experimental parameter while others are kept constant.

**1.4 Equilibria In Solvent Extraction**

The formation of a metal chelate in liquid -liquid extraction is as given by (Nwabue, 1982)

30

the metal ion, the organic chelating reagent, MAnorg, the metal chelate, n= no of moles of HA.

The equilibrium or extraction constant, Kex is given as

31

32

33

The ionic strength and the temperature of the aqueous phase affect the kex. Thus, if the concentration of the reagent is kept constant then,

34

35

Taking the logarithm of equation 32

36

37

38

n=slope

The value of Kex for a particular complex can be evaluated from this relation.

**1.5 Thermodynamics Of Complexation**

Complexation involves the reaction between an aquo-metal cation and a ligand in which there is replacement of one or more of the co-ordinated solvent molecules by the nucleophilic groups.

39

40

41

42

43

44

From the above relations, the stability constant, n, the free energy change G, the enthalpy H and entropy S of a complex can be evaluated.

Houria, Tayeb, Hasnia and Mohamed(2013) has used the relation to calculate the free energy change of bis(salicylidene)ethylenediamine.

**1.6 Mechanism Of Extraction Of Metal Species**

Studies (Kalagbor, Uzoukwu and Chukwu, 2011) and other works (Uzoukwu and Okafor, 1998) has shown that the relationship between the metal ions Mn+ and chelating ligands HL can be represented as

45

46

47

However, in the presence of a solvating agent acting as a synergist(syng) such as butanol, then distribution ratio becomes

48

The method of slope analysis can be used to evaluate the values of a, b, c and d for the interaction between one mole of the metal and the ligand. Thus,

49

50

51

52

Also, if an acid is used as solvating agent in the extraction of the metal ion, (Okafor and Uzoukwu, 1990) proposed a mechanism as shown below.

53

54

55

56

In acid extraction, ion pair complex is expected thus, when the chelating agent is a Schiff base, the extraction mechanism as described by (Nwabue and Okafor, 1992 and Nworie et al,2013) involves a protonation of the ligand as shown below.

57

58

59

Where

**1.7 Classification Of Inorganic Extraction Systems**

Inorganic extraction system may be ion pair or ion association metal complex and metal chelates or additive complexes. Ion association complex results when the metal exists in anionic complex form and the chelating agent can form cationic specie in acidic aqueous phase. Mendham et al (2000) noted that analytical species in ion associated complex may be associated with oppositely charged ions to form a neutral extractable species more soluble in organic phase.

A neutral metal chelate is formed when a complexone (organic chelating agent) having two or more uncharged donor atoms reacts with a cationic aquo metal complex. Metal chelates are hyprophobic or hydrocarbon like, large and dissolve preferably in organic phase.

Additive complexes are metal chelates or ion pair association complexes with co-ordinated solvent molecules which facilitates the solvent extraction of salts (chlorides, nitrates and sulphates) as they add to the size of the cation and resemblance of the complex to the solvent. Additive complexes can be formed with an organic solvent where the geometry of the ligand and the co-ordination number of the metal is at maximum and favourable and reagent concentration is very high. They are formed with hydroxyl groups at high pH values and upon hydrolysis of the metal, are not neutral, and have low partition coefficient compared to neutral metal chelate (Nwabue, 1982).

**1.8 Factors That Influence Solvent Extraction Of Metal Chelates**

The extraction of metal chelates according to many authors (Sandel, 1959, Nwabue and Okafor, 1992, Kalagbor, Uzoukwu, and Chukwu, 2011 and Houria, Tayeb, Hasnia and Mohammed, 2013) are influenced by factors such as acidity, concentration of organic reagent, masking agent, salting out agent, organic solvent, dissociation constant and partition coefficient, stability constant of metal chelates, solubility of metal chelates and kinetic factors.

Studies (Nwabue and Okafor,1992 and Nworie et al, 2013) has shown that the distribution ratio increases exponentially with pH if the metal chelate has large partition coefficient and hydroxycomplex formation is neglected at pH of investigation. Also increase in organic reagent concentration leads to increase in the value of D and excess of chelating agent leads to quantitative extraction.

Masking agents such as oxalate, cyanide, tartrate and thiocyanate can mask a particular metal making the distribution very low or diminished and helps in selective extraction of a particular metal in the presence of others. Studies (Nworie, 2011) shows that Fe(II) can be masked by KCN and EDTA but not Fe(III) in the presence of bis(2,21-methlylidenephenol) diaminoethane). This can be used as a method of separating the two species in solution.

Salting out agents enhances the distribution ratio of the metal, increases the dielectric constant of the aqueous phase, decreases the solubility of the metal chelate in aqueous phase and increases the solubility of the metal chelate in organic phases. Organic solvent solubility enhances partition coefficient and ensures solubility of metal chelates, inflammability, low toxicity, insolubility in aqueous phase and recoverability of solute.

The stability constant of a metal chelate according to Irving and Rossotti as stated in (Nwabue, 1982),shows that increase in the stability constant of the metal chelates leads to increase in the extraction constant. Also the quantitative description of solvent extractions of metal complex lies on the fact that the organic and aqueous phases are in equilibrium. The rate of attainment of equilibrium depends on the rate of formation of extractable species and rate of transfer of the various species from one phase to the other. Nwabue and Okafor (1992) noted that there exists a correlation between the extraction constant (Kex) and rate of equilibration. The higher the value of Kex, the more rapid is the rate of extraction and the equilibrium time increases with the partition coefficient of the organic reagent.

**2.1 Statistical Considerations**

**Accuracy:** The accuracy of a determination is the correctness of a measurement or concordance between it and the true or most probable value. This can be evaluated by performing recovery studies.

**Precision:** This always accompanies accuracy and is defined as the concordance of a series of measurements of the same quantity. It shows the reproducibility of a measurement. A between-run precision shows reproducibility (when analysis are done separate days when laboratory conditions vary) while a within-run precision shows repeatability (when analysis are done same day in rapid succession) (Shobhana, Bloomika, Kuldeep, Pinkesha and Ravindra, 2012).

**Absolute Error:**  This describes the difference between the observed or measured value and the true value of the quantity measured. In any measurement, absolute error shows the accuracy of the determinations.

Absolute error,

(t at 95% confidence limit for n-1 degree of freedom)

**Relative error:** The relative error is absolute error divided by the true value expressed in percentage or parts per thousand.

**2.2. Measurement And Assessment Of Variability. Measurement Of Precision**

The precision of any analytical measurement involves the calculation of the following measures of central tendencies and dispersion. Mean, coefficient of variation, variance, standard deviation, standard error of the mean, relative standard deviation.

**Mean:** The arithmetic mean (for a given distribution is given by

61

It is otherwise regarded as the average which is the summation of the total number divided by the number of occurrence(n)

Standard deviation ()= 62

Variance is square of the standard deviation

63

n-1 is used rather than n if the number of values/ distribution is small

Relative standard deviation 64

Standard error of the mean 65

Coefficient of variation: This is percentage of relative standard derivation. 66

It gives the percentage error of a determination.

**2.3 Reliability Of Results**

Results obtained from experiment can be considered on how reliable it is and how it compares with the true value or other sets of data (Miller and miller , 1993)

**Q- test**: Q –test is used to decide whether a value in a set of experiment would be accepted or rejected.

67

If the value of Q calculated exceeds the critical value in the Q –table then, the questionable value may be rejected for the given sample size (Liteanu and Rica, 1990 and Funk, Dammann and Donnevert, 1995).

**Confidence interval and confidence limit.**

The confidence interval of a distribution describes the range within which the true mean may be located. This is so because standard deviation does not show how close the mean of a distribution is to the true value. Confidence limits µ for a set of distribution, say π is

68

where s = standard deviation, = mean, t is a parameter which depends on the number of degrees of freedom, V (table of the values of t and V are available).

**2.4 Significance Test**

**Comparison Of Results**

The accuracy and precision of analytical procedure can be evaluated by comparing the values obtained in a test with the true value or with other sets of data. The student t-test and f-test or variance ratio test is used and in each case the number of degree of freedom is important.

**Number of degrees of freedom**: Deming and Morgan (1993) maintained that the number of degree of freedom in a statistic is the number of independent values relevant to the determination of the quantity or simply put number of independent measurements.

**Student’s t-test**: - This comparative tool is used to test the difference between the mean of two sets of experimental data. The t-statistics is also applied in the comparison between the mean of a data and some standard value with some level of confidence in the significance as determined in the comparison. It is a one-tailed test.

69

where µ is the true value

When comparing the mean and precision of two analytical methods say a new method and a reference or established method, the t-statistic is used.

70

Where Sp is the pooled standard deviation,

71

S1 and S2 are standard deviations of the two samples.

**Comparism of variance**

**F- test**: This compares the results of two different analytical procedures to ascertain the precision. The F-test compares the variance of two sets of data.

72

Where, the larger value always serves as the numerator and the smaller value the denominator. The significance of the f-value is checked from the f-table.

**Paired t-test:**

Apart from the use of student t-test to validate a new analytical method, the paired t-test can be used to compare results obtained from samples of varying proportions with different acceptable method. For instance, two or more methods may be used for the analysis of different compounds of copper where the content of copper in each sample expressed in percentage will be evaluated and method applied validated.

= 73

x is the difference between each pair of results the mean difference Sd the standard deviation

74

**Note:** If the tabulated value of t at 5% level of probability and at the given degrees of freedom is less than the calculated value, there is significance between the two methods and vice versa.

**Comparison Of Several Means**

**Analysis Of Variance (Anova)**

ANOVA can be used to compare mean results obtained from more than two different analytical chelating agent using the same spectrophotometer or mean results obtained from different spectrophotometers all using the same sample or mean results of three analysts each using the same solutions for four replicate analysis.

**One way analysis** of variance involves analysis of variance for one way classification, that is One source of variation e.g. investigation into the effect of storage on the absorbance of solution of iron(II) bis (2,21-methylylidene phenol)diaminoethane. Complex.

**Two way analysis** of variance: More than one source of variation is involved. Thus, two variables or more as the case may be. Example, comparison of the % efficiency of different acid solutions in the extraction of metal chelates from aqueous solutions of bis(2,21-methylylidenephenol)diaminoethane.

A table showing an example of two-way analysis of variance.

**Table 1**. Analysis of variance for % efficiency

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Source of variation | SS | Df | MS | F |
| Acid solutions (A) | SSA | a-1 | S12=SSA/(a-1) | F1=S12/S22 |
| Metal chelates (B) | SSB | b-1 | S22=SSB/(b-1) | F2=S22/S2 |
| Interaction (AB) | SS(AB) | (a-1) (b-1) | SS23=SS(AB)/(a-1)(b-1) | F3=S32/S2 |
| Error | SSE | Ab(n-1) |  |  |
| Total | SST | Abn-1 |  |  |

Where Df= Degrees of freedom, SS= Sum of squares, Ms= mean square and F= computed F.

Giokas, paleologos, Tzouwara-Karayanni and Karayannis (2001) used ANOVA and regression as a chemometric tool in the determination of iron, cobalt and nickel in environmental samples.

**Correlation**

Pearson’s correlation coefficient is used to establish whether a linear relationship exists between two variables.

Pearson’s correlation coefficient.

n= number of data points and r lies between +1 and -1. Values close to +1 indicates positive relationship whereas values close to –1 indicate negative relationship. The significance of r calculated is determined from the table at say 5% significance.

**linear regression**

The equation of straight line is

y is the dependent variable , x the independent variable, b the slope of the line and a the intercept. If is mean of x and mean of y, then - .

The least square method is used for such calculation. E.g to calculate the equation for the effect of concentration of manganese compex of bis(2,21-methylylidenephenol) diaminoethane on the absorbance. The dependent variable is absorbance while the independent variable is the concentration.

**Conclusion**

The application of solvent extraction in the preconcentration, separation and analysis of metal complexes is not a new sample preparation technique. However, the application of mathematical and statistical technique in the analysis, measurement and optimization of information generated from data is relatively a new area in chemistry. This study seeks to x- ray the parameters effective in complex formation, discusses the mechanisms of complex formation, and justifies the application of mathematics and statistics, in the determination of accuracy, precision, reliability and robustness of the practice, solvent extraction.

**Acknowledgement.**

The authors are grateful to colleagues of Department of Industrial Chemistry for their support and encouragement.

**References**

1. Adams, M. J Chemometrics in Analytical Spectroscopy. Royal Society of Chemistry, Cambridge.1995. 70
2. Deming, S.N and Morgan,S. Experimental Design.A Chemometric Approach.2nd Edition Elsevier. Amsterdam.1993
3. El- Binday, A- A; El- sonbati, M. A.D and Abd – El, kader, M. K. Potentiometric and Thermodynemic Studies of Some Schiff Base Derivative of 4- Aminoantipyriane and their Metal Complexes. *Journal of Chemistry*.2013, http; // dx. d.oi org/ 10. 1155/ 2013 / 682186.
4. Funk, W; Dammann, V and Donnevert, G. Quality Assurance in Analytical Chemistry VCH Weeinheim1995. 185.
5. Giokas, D. L ; Paleo, E.k, Tzouwara- karayanni, S.M and Kara Yannies, M.I. Micelle Mediated Methodology for the Determination of Iron, Cobalt and Nickel in Environmental Samples by Flame Atomic Absorption Spectrometry. 7th International Conference on Environmental Science and Technology
6. Ermoupolis, Syros Island, Greece,2001. 121 – 127
7. Houria.S; Tayeb, B; Hasnia, R and mohammed, H. Y. Synthesis and Characterization of N, N1 – bis (salicylidine ) ethlenediamine: Study of Extractive Properties Versus the Copper(II) in Sulphate Medium. *Journal of Environmental Science and Engineering* *B2*, 2013.442- 447
8. Ion Juan, M.b; Eva, A; Ana, M. G and Luis, C. Data Analysis in the Determination of Stoichiometries and Stability Constants of Complexes. *Analytical science*, 2003,19, 1431- 1439
9. Kalagbor, A.L; Uzouam, B.A and Chukwu, U. J. Extrapct of Chromium (VI) with 4-adipoyl and 4- sebacoyl Derivatives of Bis( 1- phenyl – 3- methylyrazolone -5) in Acid Medium and the Effect of Butanol. *Nature and Science*,2011. 147- 153.
10. Kowalski, B.R. Chemometrics: Theory and Application. American Chemical Society Symposium Series USA. 1977, 100
11. Liteanu, C and Rica, 1.Statistical Theory and Methodology of Trace Analysis. Ellis Horwood, chichester 1990.
12. Lutfullah, S.S; Nafisur, R;Syed, N. A. Spectrophotometric Determination of Fe (III) via Complexation with Piroxican in Synthetic Mixture and Soil Sample. *Journal of Scientific and Industrial Research*. 2009. 69, 135- 141
13. Massart, D. L;Vandeginste, L. M. C; Buydens, S;De jong, P. J and Smeyers-Verbeke,J.Handbook of Chemometrics and Qualimetrics: Part A, *Elsevier*, Amsterdam, London, 1997 12, 263.
14. Massart, D.L; Vandeginste, B. G. M ; Deming, S.N; Michotte, Y and Kaufm.an, L. Chemometric. 2nd edn, Elsevier, Amsterdan. 1998.
15. Mendham, J; Denney, R.c; Barnes, J. D and Thomas, M. J.K. Vogels Textbook of Quantitative Chemical Analysis. 6th Edition Pearson Education LTD. 1998. 215 – 217
16. Miller, J. C and miller, J.N.Statistics of Analytical Chemistry, 3rd Edn wiley, Chichester.1993.
17. Mushini, V.S.R; Veliri, A. R; Volety, M. R and Samba, S. R. Neural Network Modeling used as a Chemometric Tool for kinetic Investigation. *Asian Journal of Chemistry*,2010. 5937- 5950
18. Nwabue, F. I. 1-phenyl-3-methyl-4-Benzoylpyrazol- 5- one as group Extraction Reagent for Spectrophotometric Determination of Trace Elements. Thesis submitted to the Department of Chemistry, University of Nigeria Nsukka. 1982. 201
19. Nwabue, F.I and Okafor, E.N. Studies on the Solvent Extraction and Spectrophotometric Determination of Ni (II), Fe (II), Fe (III) and V (IV) with Bis (4- hydroxypent- 2 – ylidene diaminoethane. *Talanta*. 1992.39, 273- 280
20. Nworie, F. S. Extraction Spectrophotometric Studies on Fe (II), Fe (III), Mn (II) and Cr (III) Complexes of Bis (2, 21- methylylidenephenol)diaminoethane. Dissertation Submitted to the Department of Industrial Chemistry, Ebonyi State University, Abakaliki. 2011. 5- 7
21. Nworie,F.S;Nwabue,F.I and Omaka,N.O. A Study of Complexation Ability of Bis(2,21-methylylidenephenol)diaminoethane to some Metal Cations. *Journal of Physical Sciences and Environmental Safety*.2013. 3, 46-53.
22. Okafor, E. C and Uzoukwu, B.A. Introducing a New bis (B – disketone): Synthesis, UV – Visible, IR, H and CNMR Spectral Studies of 4 – sebacoyl- bis( I- phenyl- 3 – methylpyrazolone -5 and its U(VI), Fe (III) and Ca (II) complexes. Synth, React, Met – Org Chem..1991 21, 285.
23. Randys, S (2001) Statistics and Neural Classifiers an Intergrated Approach to Design. Springer P. 65
24. Rao, V.V.p; Raman, V. A; Rao, G.N and Rao, R. S. Environmetrics. Proceeding of National Seminar on Environment and Geology and Waste Management Department of Geology, Andhra University, Visakkapatnam.
25. Rydberb, J.P ; Muskas, C and Chopin, G. R. principles and practice of Solvent Extraction,6th Edition Marcel Dekker, USA. 1992. 34
26. Samir, A. A; Saber, E. M and Abdulrahman, A. F (2010) Potentiometric, Spectrophotometric, Conductimetric and Thermodynamic Studies on Some Transition Metal Complexes Derived from 3—methyl-l-phenyl- and 1,3,- diphenyl- 4— arylazo- 5- pyrazolones. *Nature and science*. 2, 793- 803.
27. Sandell, E.B. Colorimetric Determination of Traces of Metals. 3rd Edition, New york Interscience 1959. 672.
28. Seader, J.D and Henley, E.J.Separation Process Principles.2nd Edn,John wiley Chichester.1998
29. Shobhana, G. S and Ravindra, V. P.Analytical Detection and Method Development of Anticancer Drug Gemcitabine HCL using Gold Nanoparticles. Spectrochimica Acta Part A: Molecular and Bimolecular Spectroscopy. 2012. 94, 235- 242.
30. Uzoukwu, B and Okafor, E. C. Extraction of Fe (III) and U (IV) with I- phenyl- 3- methyl- 4 – acylpyrazolones -5 from Aqueous Solution of Different Acids and Complexing Agents. *Radiochim. Acta* 1990.,51, 167.
31. Zumdal, S.S. Chemistry. 4th Edition, Houghton mifflin Company. 1997.

4/15/2014