Coagulation-Flocculation Performance Of Snail Shell Biomass For Waste Water Purification

J.U. Ani1, M.C.Menkiti*2, O.D. Onukwuli2

1Department of Pure and Industrial Chemistry, University of Nigeria, Nsukka, Nigeria.

2Department of Chemical Engineering, Nnamdi Azikiwe University, Awka, Nigeria.

*Corresponding author: M.C.Menkiti. E-mail : cmenkiti@yahoo.com

Abstract: Coagulation and flocculation treatment of fibre-cement effluent was studied in respect of pH and dosage variation at room temperature using snail shell biomass as a precursor to coagulant .Coagulation kinetics parameters such as order of reaction, α, and rate constant, K. were determined.Coagulation performance was measured in nephelometric jar test while coagulant preparation was based on work reported by Fernandez-Kim. Maximum parameter values are recorded at K of 4.5 x 10-3 l/mg.min, α of 2 and total solid of 2028mg/l. Parameters obtained lie within acceptable range while it can be concluded that the coagulation performance of snail shell biomass is adequate.

[J.U. Ani, M.C.Menkiti, O.D. Onukwuli. Coagulation-Flocculation Performance Of Snail Shell Biomass For Waste Water Purification. New York Science Journal 2011;4(2):81-90]. (ISSN: 1554-0200). http://www.sciencepub.net/newyork.

Keywords: Snail shell biomass, Coagulation/ flocculation , fibre-cement effluent

Introduction

Water is very essential for human survival and existence. Among man’s major survival needs, water is next to air in hierarchy. It is therefore necessary that water conservation is given the proper attention it deserves.About 75% of the present world population live in the developing countries of planet earth. About 1.2 billion people still lack safe drinking water and more than 6 million children die from diarrhea in developing countries every year (Eman et al; 2009).Water is mainly sourced from rivers, aquifers and rainfall for both industrial and municipal uses.

Coagulation – flocculation followed by sedimentation, filtration and disinfection, often by chlorine, is used worldwide in the water treatment industry before distribution to consumers (Ndabigengesere et al;1995).Effluents that are generated as a result of industrial and municipal activities are normally disposed into the surroundings and also into the nearby river thus causing pollution. The pollution menace can reach some disturbing proportions as crops on the land; aquatic and human lives are in serious danger. Most of the rivers in the metropolis of the developing world are the end points of effluents from industries. Industrial effluents if not treated adequately and properly controlled could also pollute ground water. As a result, both boreholes and rivers generally have poor quality water in the affected areas leading to diseases such as cholera, bilharzias, and diarrhea.

Inorganic coagulants such as A1(SO4)3 18H2O and Ca(OH)2 are widely used for the removal of raw water turbidity because they are cost effective and easy to handle. However, the sludge obtained from such treatment poses disposal problems due to its aluminum content and the residual aluminum concentration in treated water has raised public health concerns (Driscoll and Lettermon; 1995). It has been reported that extensive intake of alum causes Alzheimer’s disease (Mclachlan;1995, Divakaran and Pillai,2001).

The search for a better alternative for conventional coagulants has become an important challenge in the water treatment process with the aim of minimizing the detrimental effects associated with the use of such coagulants. The use of coagulants of biological origin has become imperative. Some of the coagulants and flocculants of biological origin that have been used include chitosan (Ozacar and Sengli A,2002), tannins ((Ndabigengesere and Narasiah,1998).), aqueous extract of the seed of Moringa oleifera (Oladoja and Aliu, 2008), extracts of okra ,  nirmali seed (Roberts,1997), seeds of Brachystegia eurycoma, Mucuna flagellepis, Afzelia bella(Menkiti,2010a) and snail shell , which is the subject of the study.

Snails belong to the phylum molluscs and to the class gastropods; this class includes the  slugs and snails. Snail shell is being suggested as a low cost material to remediate the turbidity  of a fibre - cement plant effluent (FCE) in the present  studies. The group of snails that is common in this part of the world belongs to the family of the achatinadae, also known as the achatina snails. The main constituent of the shell is calcium carbonate which are either of two crystalline forms calcite and aragonite. The remainder is organic matrixes which constitute a protein known as conchiolin that usually make up to 5% of the shell. The fine structure of molluscs shells has been studied by using various techniques including scanning electron microscope of broken surfaces. In each of them, blocks or stripe of calcium carbonate are separated by a thin layer of conchiolin.

Fibre - cement is commonly used in the construction of houses and commercial buildings for internal and external wall claddings and floor underlays. Fibre - cement is produced from four main raw materials – silica, cement, cellulose, paper and water. These materials are mixed together to form a slurry. The slurry is often filtered and fed into a press roller where it produces a layer of fibre – cement ranging from 4mm to 15mm in thickness. It then enters into a pressure vessel where it is processed for about 3 hours. The effluent from the productive process flows into a drainage that channels it into a nearby river.

In the present investigation, conditioning of snail shell was carried out with different additives prior to its use as a coagulant for the removal of colloids in a fibre-cement effluent. The optimum dosage of the snail shell was determined. The influence of pH of the effluent on the coagulation process was studied. The results obtained could be used to estimate the performance of snail shell coagulant (SSC) in the treatment of fibre-cement effluent when compared with Al2 (SO4)3. 18H2O in the control experiments.

THEORY

Coagulant aggregation chemistry.

Calcium, the main composition of snail shell when in solution dissociates into Ca2+ and various calcium complexes such as Ca(OH)2+, the various positive species of which are formed may combine with negative charges leading to the formation of flocs:

During coagulation, the colloidal materials will come together and become incorporated or adhere into the mass that can readily be precipitated. When alum is added to water it undergoes the reaction below. The alum reacts with bicarbonate to form aluminum hydroxide, a precipitate.

The above equation can also be written as shown below which recognizes that calcium bicarbonate and calcium sulphate are soluble and do not necessarily exist as distinct molecules but only as ions.

Alum reacts with the bicarbonate molecule. In the reaction above bicarbonate is shown associated with Ca+2 in order to preserve charge neutrality. For most water with  pH  of 6 - 8 the bicarbonate is measured as alkalinity.The aluminium hydroxide adsorbs onto the colloids,aggregating into visible flocs that settle under gravity.

Coagulation kinetics

The time evolution of the clusters –size distribution for colloidal particles is usually described by the smoluchowski equation (Smoluchowski, 1917):

dcndt=121+1KinCiCj−CnKinCi                         …1

Where Cn (t) is the time –dependent number concentration of n – fold cluster, t is the time, and ki; are the elements of the rate kernel which control the rate of the coagulation between an i –fold and j-folder cluster. In the smoluchoaski analysis, the coagulation process is approximated to be controlled by Brownian motion and monodispersed suspension. So the analysis attempts to interpret the kinetics of rapid coagulation on the basis of diffusion (Brownian) motion which is best studied during the early parts (t <30 min.) of the coagulation process (Menkiti et al ,2010b;Holthof et al,1996; Fridriskhberg, 1984; VanZanten and Elimelech ,1992; Suidan ,1998; Ma et al,2001; WST,2005)

According to the works carried out by Fridriskinsberg (1984), it was shown that the rate of depletion of particle count (TSS or turbidity removal) can generally be represented as

−dcdt=KCα                                                                 …2

based on the Brownian controlled, rapid coagulation.

The generalized form of equation (2) can be used to determine the aggregation constant K if α = 2. Hence:

1C=Kt+1C0                                                                             …3

MATERIALS AND METHOD

Collection of Effluent Samples

The fibre-cement effluent was collected from the effluent channels of the factory located in Enugu, Nigeria. Effluent sample was placed into thoroughly cleaned 20-litre polyethylene bottle and tightly closed. Bottle was rinsed with effluent sample before the final sample collection.

Effluent Analysis

The temperature was measured using calibrated mercury-in-glass thermometer (0-100 OC  ) to the nearest ± 0.05oc. A DELTA 320 pH meter was used for pH determination. Determinations of dissolved oxygen, biological oxygen demand (BOD), total dissolved solid; total suspended solid (TSS), Cl-, PO43-, S042- were carried out according to the standard methods for the examination of water and waste water. A UNICAM 919 model atomic absorption spectrophotometer was used for the determination of the heavy metals including copper (Cu), iron (Fe), arsenic, chromium, cadmium (Cd) and manganese (Mn). The characteristics of the waste water collected from the outlet of the fibre-cement industry are given in table1.

Snail Shell (SS) Preparation

The SS was obtained after the snail has been removed in boiled water. The snail shell was first washed with tap water and then rinsed thoroughly with distilled water. It was ground in a wooden mortar and pestle. The ground SS was made into powder using a grinding machine and sieved with a laboratory sieve of known mesh size. The ground SS was then processed into a coagulant using standard methods(Fernandez-Kim,2004).

Coagulation Experiment(Jar Test)

Coagulation and flocculation was performed using bench scale jar test. Suspensions were subjected to 2 minutes of slow mixing and 20 minutes of rapid mixing, followed by 30 minutes of settling. SSC coagulant was added at the beginning of the rapid mixing. During settling, samples were withdrawn using pipette from 2cm depth and analyzed for turbidity. Coagulation pH  was  adjusted using sulphuric acid and sodium hydroxide during the jar test. All the tests were performed at a temperature of 28oc ± 2oc. The above procedure was repeated using alum in a control experiment.

RESULTS AND DISCUSSION

The Effect of pH variation on Turbidity Removal

The pH influences polymeric metal species which are   formed when the metal coagulants are dissolved in water (Stamm and Morgan,1996). Figures 1 and 2 show that the percentage turbidity(in TSS,mg/l) removal was appreciable in all the pH values studied, the optimum turbidity removal occurring at pH of 6. The average percentage turbidity removal was recorded at 92% at initial TSS of 2028mg/l.

For alum coagulation whose performance profile was plotted in figure 2, the best turbidity removed occurred at pH 12.The results obtained are in agreement with the work done by Oladoja and Aliu (2008).The appreciable values of the turbidity removal observed could be ascribed to the alkaline nature (pH = 8.01) and the neutralizing ability of the snail shell used. It should also be noted that snail shell has large surface areas. Owing to the predominance of CaCO3 in SSC, the hydrolysis reaction of calcite could be used to elucidate the surface reaction of the SSC at different pH values. Considering the hydrolysis reaction of calcite, it derives that cation species such as Ca2+, CaHCO3+ and CaOH+ prevail for pH less than 8, rendering the mineral surface positively charged (Karageorgwu et al, 2007).Alum is said to perform best under alkaline medium (Lentech,2005)

Good coagulation at a lower pH could be attributed to a higher degree of protonation of amine groups of the SSC. Coagulation of turbidity particles was enhanced by the increase in charged groups of SSC, which increased electrostatic interaction with anionic surface of total suspended solid (TSS).

The Effect of Coagulation Concentration  on Turbidity Removal

The results obtained for turbidity of sample in NTU were converted to concentrations (mg/l) by multiplying with a factor of 2.20 (Ozacar and Sengli, 2002). These results are shown in figures 3 and 4. The observable pattern in most of the results is the decrease of concentration from initial value of 2028mg/l. The decrease of turbidity with time reflects the fact  that  as the reaction progressed the amount of particle available for the coagulation decreases. The decrease in turbidity from 0-5 minutes is a product of either floc mechanism or combination of entrapment bridging mechanism. Figure 3 illustrates that as the concentration of SSC increases, the rate of particle removal increases also. At 400 mg/l the ability of SSC  to remove turbidity from the fibre-cement waste water is at the optimum. Figure 4 shows the performance plots of the TSS removal by use of alum coagulant. The experiment served as the control. For most of the coagulant dosages, the concentration values in Figure 3 compare favourably with those in Figure 4 indicating that the SSC coagulant can be used for TSS removal in fibre-cement effluent. Meanwhile , figure 7 indicates that with exception of 400 mg/l dose, snail shell coagulant performed better than alum.

Table 1. Physiochemical properties of fibre cement plant effluent

| Parameter | Fibre Cement effluent |
| --- | --- |
| Odour | Alkalinic |
| Appearance | Pale yellow |
| Colour (Oxygen disc) | 0.08 |
| Ph | >11 |
| Conductivity (ms/cm) | 4 x 105 |
| Temperature (oC) | 30 |
| Acidity (mg/l) | ND |
| Alkalinity (mg/l) | 1350 |
| Total solids (mg/l) | 2028 |
| Dissolved solid (mg/l) | 1578 |
| Suspended solid (mg/l) | 450 |
| Nitrate (mg/l) | 20.20 |
| Calcium (mg/l) | 9418.8 |
| Magnesium (mg/l) | 4226.85 |
| Total Hardness (mg/l) | 13645.65 |
| Dissolved Oxygen (mg/l) | 4.40 |
| Biochemical Oxygen Demand (mg/l) | 66.20 |
| Chemical Oxygen Demand (mg/l) | 58.70 |
| Phosphate (mg/l) | ND |
| Copper (mg/l) | 0.01 |
| Iron (mg/l) | 36.3 |
| Chloride (mg/l) | 106.38 |
| Manganese (mg/l) | 0.016 |
| Arsenic (mg/l) | ND |
| Chromium (mg/l) | 4.33 |
| Sulphate (mg/l) | 951.2 |
| Cadmium (mg/l) | 0.05 |
| Calcium (mg/l) | 9418.8 |
| Magnesium (mg/l) | 4226.85 |

Coagulation Reaction Constants for Variable Dosages

Representative figures 5 and 6 shows the pseudo second order model plots for TSS removal using SSC. From these plots the K and C0 values can be deduced. The K values obtained from the linearized equations from the figure were then used to formulate the rate equations for the removal of TSS from the waste water as contained in tables 2 and 3. Meanwhile, table 1 shows the characterization results of the fibre – cement effluent. The results posted from tables 2 and 3 shows that high values of R2 indicate a high measure of agreement to the second order model common to coagulation process. It is also observed that high values of K indicating faster raste of coagulation. This is expected since sweep floc may be in force.

Table 2: Coagulation Kinetics of SSC for a second order system

| Coagulant dosage (mg/l) | K-values(l/mg min) | Rate equation (mg/l min) | R2 | α | Co(mg/L) |
| --- | --- | --- | --- | --- | --- |
| 100 | 1.4x10-3 | -r=1.4x10-3C2 | 0.28 | 2 | 149.25 |
| 200 | 1.1x10-3 | -r=1.1x10-3C2 | 0.65 | 2 | 138.89 |
| 300 | 1.9x10-3 | -r=1.9x10-3C2 | 0.88 | 2 | 138.89 |
| 400 | 4.5x10-3 | -r=4.5x10-3C2 | 0.92 | 2 | 222.22 |
| 500 | 0.5x10-3 | -r=0.5x10-3C2 | 0.79 | 2 | 10.53 |

Table 3: Coagulation Kinetics of alum for a second order system

| Coagulant dosage (mg/l) | K-values(l/mg min) | Rate equation (mg/l min) | R2 | α | Co(mg/L) |
| --- | --- | --- | --- | --- | --- |
| 100 | 3.2x10-3 | -r=3.2x10-3C2 | 0.95 | 2 | 222.22 |
| 200 | 4.5x10-3 | -r=4.5x10-3C2 | 0.94 | 2 | 200.00 |
| 300 | 4.6x10-3 | -r=4.6x10-3C2 | 0.95 | 2 | 88.50 |
| 500 | 4.7x10-3 | -r=4.7x10-3C2 | 0.99 | 2 | 256.41 |

Fig 1 : TSS Removal at varying pH of effluent for 400mg/L SSC  dosage.

Fig 2 : TSS Removal at varying pH of effluent for 300mg/L Alum dosage.

Fig 3: TSS removal at varying doses of  SSC  coagulant

Fig 4: TSS Removal at Varying doses of Aluminum Sulphate

Fig 5: Plots of 1/C Vs Time for TSS Removal  at Varying doses of  SSC  Coagulant

Fig 6: Plots of 1/C vs Time for TSS removal at varying doses of aluminium sulphate

Fig 7: Particle reduction profile for alum and SSC  coagulants at optimum conditions.

CONCLUSION

Studies on the physicochemical treatment of fibre – cement effluent has been carried out using coagulant prepared from snail shell. The results obtained showed that for SSC treatment optimum turbidity removal occurred at 400mg/l and effluent pH 6 while in the alum control experiment, optimum concentration was 300mg/l at effluent pH of 12. The kinetics of the coagulation reaction also revealed  K range that agrees with existing results.Results conform with theory of perikinetic coagulation (Menkiti et al,2010;Ani et al,2010)

Acknowledgement

The authors appreciate the assistance of  P. Nnaji of Enugu State Water Corporation Laboratories Enugu, Nnaji N.,. Nwosu C. and Ugwu B. of the Department of Pure and Industrial Chemistry, University of Nigeira,  Nsukka.

REFERENCES

Ani J. U., Menkiti,M.C and Onukwuli,O.D (2009) ,Coagulation and Flocculation Behaviour of Snail Shell Coagulant in Fibre-cement Plant Effluent, J. Eng. Appl. Sci. vol. 67, 2

Divakaran, V.N.S.  Pillai, (2001) Flocculation of Kaolinite suspension water by chitosan, Water Res. 35 (2001) 3904 – 3908.

Driscol  C.T. , R.D. Lettermon, (1995) Factors regulating residual aluminum concentrations in treated waters, Environmetrics 6 287 – 309.

Eman N. All, Suleyman A. Muyibi, Hamzah M. Salleh, Mohd Ramlan M. Salleh and Md Zahangir Alam, (2009)  Moringa Oleifera seedsa as Nature coagulant for water treatment Thirteenth International Water Technology Conference, ITWC 13  Hurgbada, Eygyt.

Fernandez-Kim,S (2004), Physiochemical and Functional properties of crawfish chitosan as affected by different processing protocols, M.Sc Thesis,Louisiana State University and Agricultural andMechanical College,USA.

Fridriskhberg, D.A. (1984), A course in colloid chemistry, Mir publishers, Moscow, Russia.

Holthof, H. et al (1996), Coagulate Rate measurement of colloidal particles by simultaneous static and dynamic light scattering, Langmuir 12, 5541 – 5549, Switzerland.

Karageorgwu, M. Pasthetis, C.N. Anastassakis, (2007)  Removal of phosphate species from solution by adsorption onto calcite used al natural adsorbents J. Hazard water. 1394447-452.

Lentech (2005) Lentech water treatment and air purification holding B.V, Rotterdarnseweg.

Ma J. Li G et al (2001), Enhanced coagulation of surface waters with high organic content by permanganate Preoxiation; water science and Technology, Water supply vol. 1, Nol. 1, pp 51-61 china.

Mclachlan D.R.C. (1995), Aluminum and the risk for Alzheimers disease, Environmetrics 6233 – 275.

Mekiti,M.C,(2010a,)Sequential treatments of coal washery and brewery effluents by biocoag-flocculation and activated carbon adsorption, Ph.D thesis, Chemical engineering dept.,Nnamdi Azikiwe University Awka,Nigeria

Menkiti M.C, Nnaji P.C, Nwoye C.I, Onukwuli O.D (2010b).Coag-flocculation kinetics and functional parameters response of mucuna seed coagulant to pH variation  in organic rich coal  effluent medium. Journal of minerals and materials Characterization &Engineering, 9 (2) :89-103.

Ndabigengesere, A. Narasiah, K.S. and B.G. Talbot (1995), Active agents and mechanism of coagulant of turbid waters using moringa oleifera water Research Vol. 29, No.2, pp 703 – 710

Ndabingesere A. and Narasiah K.S. (1998). Quality of water treated by coagulation using Meringa oleifera seeds Water Res. 32, pp 781-791

Oladoja M.A and Aliu Y.D (2008) Evaluation of plantain peelings ash extract as coagulant of colloidal particle in low PH  aqua system, Water Quality Research  Journal, Canada.

Roberts G.A.F, Adv. Chitin Sci. 11(1997), 22, proceedings of the 7th international conference on Chitin R Chitoson, Lyons.

Smoluchowski M. (1917), Verscuheiner Mathematischen Theorie der koagulationskinetic kolloides lousungen. Z. Phys. Chem. 92. 129 – 168.

Stamm.W, Morgan J.J., (1996)Aquatic Chemistry, Third Edition, Wiley New York,

Suidan, MT. (1998); Coagulation and Flocculation, Environmental engineering unit operations and unit process Lab. Manical, 4th Ed. Association of Environmental Engineering Proffessors, Canada.

Van zanten, J.H Elimelechi, M. (1992) Determination of Absolute coagulation Rate constant by Multiiangle light scattering, Journal of colloids and interface science, vol. 154, No. 1, USA.

W.S.T (2005), About coagulation and Flocculation; information Bulletin, USA.

01/01/2011