The role of Cladophora sp. and Spirulina platensis in the removal of microbial flora in Nile water

1Osman, G. A., 2Ali, M. S., 1Kamel, M. M. and 3Amber, S. Gad

1Bacteriology Lab., Water Pollution Research Dept.,2Agriculture Microbiology Department, 3 Chemistry of Natural and Microbial products Dep., National Research Center, Dokki, Cairo, Egypt.

gamalosmanali2005@yahoo.com

Abstract: The main aim of this study is to evaluate the role of Cladophora sp or Spirulina platensis (as biofilters) for the reduction of microbial load in Nile water as well as reduce the organic matter content (which produce carcinogenic compound when exposed to the chlorine) before chlorine  treatment  in Water Treatment Plants for potable water. The results showed that Cladophora sp succeeded in removing  tested microbial spp., with, a ratio of 12.7, 21.1, 33.3, 11.1, 32.1, 27.2, 27.6 30.8 34.4 and 33.3% for total viable bacterial count at (37 oC,and  22 oC) total coliform, fecal coliform, fecal streptococci, salmonellae group, Pseudomonas spp., total staphylococci, yeasts and fungi, respectively. On the other hand, the total organic carbons (TOC) were 9 before filtration, while after filtration was 7.5 ppm, but Spirulina platensis reduced TOC from 9 to 6.25 ppm. In addition, the tested microorganisms in Nile water passed through biofilters were absent by treatment with 2ppm chlorine dose for 30 min.  While in case of unfiltered Nile water samples some microbial groups were present even with chlorine dose 6 ppm. Spirulina platensis was more efficiency where the results show that the ratio removals were 42.3, 51.5, 77.1, 80.6, 75, 45.5, 62.1, 92.3, 56.3 and 50% for total viable bacterial count at 37oC, 22oC, total coliform, fecal coliform, fecal streptococci, salmonellae group, Pseudomonas spp., total staphylococci, yeasts and fungus, respectively. After filtrated the Nile water through Spirulina platensis and treated with chlorine (dose 2ppm) for 10 minutes, the tested microbial groups were absent. In the unfiltrated water sample for some microbial spp. were present for 60 minutes after treatment with chlorine dose 6 ppm. These results confirmed the reduction of the already applied chlorine concentration and decrease the presence of carcinogenic compound in drinking water to improve water quality.

New York Science Journal 2011;4(3):8-17]. (ISSN: 1554-0200). http://www.sciencepub.net/newyork.

Keywords: Nile water, Classical bacterial indicators, Salmonellae group, Total staphylococci, Pseudomonas spp. yeasts, fungus, Cladophora sp, Spirulina platensis and chlorine.

1. Introduction

River Nile is the main source of water in Egypt and divided into seven segments. Cairo segment is considered the most important one because it represents the major cluster of drinking water treatment plants. Changes in water quality are expected to be more pronounced as the river penetrates densely populated urban areas and various industrial regions. Therefore, a wide variety of pathogens may be transmitted by fecally polluted water.

Conventional water purification is a process of removing undesirable chemicals, materials, and biological contaminants from contaminated water. Generally, the methods used were physical processes such as , filtration and sedimentation; Rushton et al (1996), biological processes such as slow sand; filters or activated sludge, chemical processes such as flocculation and chlorination and the use of electromagnetic radiation. Rose et al (2006) used solar radiation for disinfection. The purification process of water may reduce the concentration of particulate matter including suspended particles, parasites, bacteria, algae, viruses, fungi range of dissolved and particulate material derived from the surfaces that  water may have made contact with after falling. Bansal et al (1988) used active carbon for clarification. Some metals were removed by algae; Horikoshi et al ( 1979); Darnell et al (1988);. Tsezos and Volesky (1988). Biofiltration in a media populated with microorganisms could be applied using sludge. Chlorine is one of the most common oxidants used to disinfect drinking water and to limit bacterial re-growth in water distribution systems. It reacts with various cellular compounds and affects metabolic and physiological processes (McKenna and Davies, 1988). It can damage bacterial membranes modifying their permeability (Sips and Hamers, 1981), inhibit ATP production (Barrette et al, 1989), fragment proteins (Thomas, 1979), cause nucleic acid damage (Phe et al, 2004).

Chlorination is one of the main procedures for disinfecting raw water for  potable purposes, but this process results in the formation of mutagenic/carcinogenic disinfection by-products (DBPs) deriving from the reaction of the chlorine with organic compounds (humic and fulvic acids) naturally or by pollution present in water (Boorman et al, 1999). Chlorinated water is mutagenic in bacteria (Kargalioglu et al, 2002) and induces a genotoxic effect on mammalian cells (Lu et al, 2002 and Plewa et al, 2002). Traditionally, elevated counts of Escherichia coli are presumed to indicate the presence of sewage, mostly derived from nearby point sources. Donovan et al. (2008) discussed the gastrointestinal disease associated with exposure to pathogens. The relationship between fecal indicator bacteria and Cladophora sp. remains under investigation. The local and regional density of Escherichia coli and Enterococci in Cladophora mats strongly correlated in both E. coli and Enterococci survived for over 6 months in sun-dried Cladophora sp. mats stored at 4°C; the residual bacteria in the dried alga readily grew upon re-hydration.However, The oxygenation caused by photosynthesis reduces the total coliform count Mezzomo et al (2010). Also, Doke, et al. (2004) used Spirulina ps. to remove COD, BOD, heavy metals and bacteria in wastewater.

So, the aim of this investigation is to use some algae (Cladophora sp or Spirulina platensis) as filters before the chlorine treatment as stage in water treatment processes for potable water.

2. Material and Methods

● Sample collection

Nile water samples were collected at inlet of El-Giza Water Treatment plant. It collected in 10 liters sterile glass bottles (10 bottles) and transferred to the lab in ice box. The water was putting in sterile container (150 litters) and transfer by motor with flow rate 3 liters / minute to the system ( fig. 1). Water sampling was taken at 0, 10, 30, 60 and 120 minutes in 1 liter sterile glass bottles. Sodium thiosulphate crystals (18 mg/L) were added only to the bottles samples of chlorinated drinking water APHA (2005).

● Chlorine water

Chlorine water was obtained  from the lab of El-Giza Water Treatment plant and  added to raw water and filtrated Nile  water with doses 2 ppm and 6ppm, respectively in the presence of  aluminum sulfate (25-40 ppm) as flocculation and neutralization according to APHA, (2005).

● The Estimated total organic carbons (TOC) and trihalomethanes

The total organic carbons (TOC) and trihalomethanes were estimated in water samples according to APHA, (2005).

● Microbiological examination

Enumeration of Classical bacterial indicators: Total bacterial counts (at 22ºC and 37ºC), total coliform, facal coliform and facal streptococci were carried out using poured plate and MPN methods according to APHA (2005), for raw water and drinking water.

Detection and enumeration of Pseudomonas sp was using asparagine broth media as used a presumptive test (MPN methods for raw water and drinking water according to APHA (2005). The e tubes produced a greenish fluorescent color after exposing to long-wave ultraviolet light was considered as positive. These tubes were used to streak the surface of acetamide agar slants as confirmation test. Positive confirmed tubes with the purple color indicated to high pH value after incubated at 37ºC for 24 hours (APHA, 2005).

Detection and enumeration of salmonellae group were carried out using membrane filter technique. 100 ml drinking water aliquots were separately filtrated through the membrane filter (0.45 μm pore size and 47 mm diameter). The membranes wrere transferred onto bismuth sulphate agar as a confirmed test, (APHA, 2005). On the other hand, for Nile water samples, salmonellae groups were counted from inoculated 5ml autoclaving buffer peptone water; (British Standard Institute, 2002) tubes (incubated at 37ºC for 24 hours) which used as MPN technique. 0.2 ml from these tubes was streaked (by rod glass) on the plates of bismuth sulphate agar as a confirmed test. After incubation at 37ºC for 48 hours, typical black colonies with or without metallic sheen and blackening extended beyond the colonies considered as confirmed positive results for the presence of salmonellae (APHA, 2005).

Detection and enumeration of Staphylococcus sp. were carried out using membrane filter technique. A 100 ml drinking water aliquotes were separately filtrated through the membrane filter (0.45 μm pore size and 47 mm diameter). The membranes were transferred onto Baird-Parker agar Base ((Himedia, India) for the selective isolation of coagulase-positive Staphylococcus aureus in water (APHA, 2005).  1ml of Nile water samples were inoculated into 5ml autoclaving buffer peptone water (British Standard Institute, 2002) tubes (incubated at 37ºC for 24 hours) which used as MPN technique. 0.2 ml from these tubes was streaked (by rod glass) on the plates of Baird-Parker agar medium. After incubation (37ºC for 24 hours), typical black colonies with or without metallic sheen and blackening extended beyond the colonies considered as confirmed positive results for the presence of Staphylococcus aureus (APHA, 2005).

Detection and enumeration of fungi and yeasts were using Saparoud agar medium and molt yeast extract medium respectively,   for raw water and drinking water according to APHA, 2005.

● Algae preparing

From Nile water Spirulina platensis was isolated, (according to Carmichael, 1986) and was used in this study. Algal identification has been done according to Komárek & Fott  (1983), and Komárek,  & Anagnostidis (1989). The preparation and maintenance of the inoculums was accomplished using Zarrouk 's medium according to standard for the cultivation of this micro-alga. (Aly and Amber 2010).

Cladophora sp were collected in ice boxes (put into glass jars) from the beaches of River Nile in Port Said, area every week during May and November, 2010 and stored as mats at 10oC.

Filtration experiment were made twice every week (during May to November, 2010), Kg of both Cladophora sp. or  Spirulina platensis (wet weight) were placed in glass basin and the raw Nile water was passed through it with flow rate 3 liters / minute (figure 1).

● Estimation of pH and Turbidity pH was estimated in the water sample by pH meter (ENWAY, 3505 pH meter, France). Turbidity test was carried out using  turbidity meter (HACH, 2100 AN, USA).

3. Results and Discussion:

Data given in Table (1) show that the average values (48 values) of total organic carbons (TOC),   pH, turbidity (NTU) and trihalomethanes  (chlorine 2 ppm), were 7.5 ppm, 7.3, 4, and 0.02 ppm for Cladophora sp, respectively after filtration the Nile water. On the other hand,  Spirulina platensis recorded 6.25 ppm, 7.1, 3 and 0.01 ppm for total organic carbons (TOC), pH, turbidity (NTU) and trihalomethanes(chlorine 2 ppm). These data were accepted the safety of drinking water according to the Egyptian Standard (2007) for drinking water declared that potable water must be 6.5 to 8.5 for pH and 0.1 ppm for trihalomethanes.

Table (1): Physo-chemical tested of Nile water passed through some algae filters (Cladophora spand Spirulina platensis) after treatment with different doses of Chlorine (2 ppm and 6 ppm)

|  | Algae | Cladophora sp |  | Spirulina platensis |  |
| --- | --- | --- | --- | --- | --- |
| Parameters |  | before | after | before | after |
| Total organic carbons / ppm |  | 9 | 7.5 | 9 | 6.25 |
| Trihalomethanes / ppm |  |  |  |  |  |
| Chlorine (2 ppm) |  | 0.3 | 0.02 | 0.2 | 0.01 |
| Chlorine (6 ppm) |  | 0.4 | 0.2 | 0.4 | 0.04 |
| Turbidity (NTU) |  | 5 | 4 | 5 | 3 |
| pH |  | 7.5 | 7.3 | 7.5 | 7.1 |

Note: - these figures were an average for 48 values.

Chlorine is added to Nile water to reduce or eliminate microorganisms, which can be present in water supplies. The effect of different doses of chlorine (2 and 6 ppm) for removal of classical bacterial indicators counts (total bacterial counts at 37ºC and 22ºC, total and fecal coliform as well as fecal streptococci) were expressed as a log average numbers in Table (2).

Data given in Table (2) show that the initial average log numbers cfu / 100 ml of total viable bacterial count of Nile water at 37 ºC and 22 ºC were 7.1 and 6.6 cfu / 100, respectively but when Nile water was with exposed them to different chlorine doses they were absent after 120 minutes at dose 6 ppm but some bacterial were present at 2 ppm.  Also, samples of non-treated Nile water in the present investigation supported higher log average counts of total coliform, fecal coliform and fecal streptococci being in the order of 4.8, 3.6 and 2.8 MPN-index / 100ml, respectively. These bacteria were killing after 120 minutes except fecal streptococci in different chlorine doses tested.

These results are in the line with those obtained by El-Taweel & Shaban (2003) who noticed that the range for river Nile samples at the different sites of Greater Cairo were 105 to 107 cfu / 100 ml for bacterial counts at 22 ºC and 37 ºC or 103  to 105, 103  to105 and 10 to104 MPN-index / 100 ml for total coliform, faecal coliform and faecal streptococci, respectively. The same results when Ali, et al (2008) who found that the bacterial counts at 22 ºC and 37 ºC in river Nile samples at El-Giza site were 8.3 x 105 and 5.0 x 105 cfu / 100 ml, respectively. These results are in line with those obtained by Shash et al. (2010) who enumerated the total coliform and fecal coliform in 100% tested samples of Nile water at Greater Cairo with the mean value 104 and 103 cfu / 100 ml respectively, and compatible with Egyptian Standard (2007).

Table (2): Effect of different doses of chlorine (2 and 6 ppm) for removal classical bacterial indicators in Nile water

| Site | Log number of cell forming unit (cfu) / 100 ml |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | Total viable bacterial count at:- |  | Bacterial indicators (MPN-index) |  |  |
|  | 37 oC | 22 oC | TC | FC | FS |
| Nile water | 7.1 | 6.6 | 4.8 | 3.6 | 2.8 |
| With Cl2 A |  |  |  |  |  |
| 0 time | 6.8 | 6.1 | 4.2 | 3.2 | 2.4 |
| 10 minutes | 3.8 | 3.5 | 3.2 | 1.1 | 1.8 |
| 30 minutes | 1.8 | 1.1 | 1.1 | 0 | 1.1 |
| 60 minutes | 1.0 | 0.8 | 0 | 0 | 0.7 |
| 120 minutes | 0 | 0 | 0 | 0 | 0 |
| With Cl2 B |  |  |  |  |  |
| 0 time | 6.6 | 6.4 | 4.2 | 3.2 | 3.6 |
| 10 minutes | 6.3 | 4.1 | 3.6 | 2.8 | 3.2 |
| 30 minutes | 3.9 | 3.8 | 2.4 | 1.7 | 2.8 |
| 60 minutes | 2.3 | 2.1 | 1.1 | 0.7 | 1.7 |
| 120 minutes | 1.1 | 0.7 | 0 | 0 | 0.6 |

Note:- these log numbers were a average for 48 values.

Cl2 A :- chlorine dose 6 ppm     Cl2 B:- chlorine dose 2 ppm TC:- Total coliform              FC:- Fecal coliform          FS:- Fecal streptococci

With respect to some pathogenic microorganisms of Nile water, data recorded in Table (3) show that the log average numbers of salmonellae group, Pseudomonas sp and total staphylococci in all Nile water samples were 2.2, 2.9 and 2.6 cfu / 100 ml respectively. Chlorine treatments in this investigation effect on the survival of these counts were decrease as to be absent at 120 minutes. The results demonstrated that total staphylococci more resistant than other bacteria tested. These results corresponding with Saleh, (2009) who demonstrated that the mean log counts of Staphylococcus sp.  and Salmonella sp. were 3.0 and 4.0 cfu / 100ml respectively, in Nile water samples from different sites at Greater Cairo, Egypt.

Table (3): Effect of different doses of chlorine (2 and 6 ppm) for removal of some pathogenic microbial in Nile water

| Treated samples | Log number of cell forming unit (cfu) / 100 ml |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | Salmonellae group | Pseud. sp. | Total Staph. | Total molds |  |
|  |  |  |  | yeasts | Fungi |
| Nile water | 2.2 | 2.9 | 2.6 | 3.2 | 3.6 |
| With Cl2 A |  |  |  |  |  |
| 0 time | 1.8 | 2.6 | 2.4 | 2.9 | 3.4 |
| 10 minutes | 0 | 1.1 | 1.8 | 1.1 | 2.6 |
| 30 minutes | 0 | 0 | 1.4 | 0 | 1.8 |
| 60 minutes | 0 | 0 | 0 | 0 | 0.9 |
| 120 minutes | 0 | 0 | 0 | 0 | 0 |
| With Cl2 B |  |  |  |  |  |
| 0 time | 2.4 | 2.4 | 2.1 | 2.7 | 3.2 |
| 10 minutes | 1.8 | 1.8 | 2.9 | 2.1 | 2.8 |
| 30 minutes | 0.7 | 0.7 | 0.7 | 1.4 | 1.8 |
| 60 minutes | 0 | 0 | 0.2 | 0.9 | 1.1 |
| 120 minutes | 0 | 0 | 0 | 0 | 0.3 |

Note:- e log numbers were a average for 48 values.

Cl2 A :- chlorine dose 6 ppm       Cl2 B:- chlorine dose 2 ppm  Pseud. sp:- Pseudomonas sp  Total staph.:- total staphylococci Cl2 A :- chlorine dose 6 ppm       Cl2 B:- chlorine dose 2 ppm Pseud. sp:- Pseudomonas sp  Total staph.:- total staphylococci

On other hand, the average log number of total yeasts and fungi were determined during the period of tested Nile water samples were being 3.2 and 3.6 cfu /100 ml, respectively. The results show that the mold especially fungi more resistant than bacteria for different chlorine doses tested. These results are in agreement with those of El-Taweel and Shaban (2003) who found that the log count range of yeast in Greater Cairo Nile water was from 1.3 to 4.1 cfu / 100 ml.

While the high results were obtained by El-Taweel  (1998)  and  Ali  et  al  (2000)  for  the  average log number of yeast being 4.0 and 4.61 cfu / 100 ml, respectively. These results are in agreement with those obtained by Shaban and El-Taweel (2002) who found that the count of yeast ranged from 0.0 to 23 cfu / 100 ml in drinking water. Also, Kelley et al. (2003) reported that the count of yeast was 28 cfu / L in tap water. The average filamentous fungi counts of 3.7 x 102 were reported by Gonçalves et al. (2006) in chlorinated water.

Data presented in Table (4) revealed that classical bacterial indicators in Nile water were significantly affected by filtration through Cladophora sp than control as will as affected with chlorination. The results show that the ratios removal were 12.7, 21.1, 33.3, 11.1, and 32.1% for total bacterial counts at 37ºC, 22ºC, total coliform, fecal coliform, and fecal streptococci, respectively. In addition, all bacteria tested were absent at 60 minutes in different doses of chlorine.   On the other hand, Spirulina  platensis was the better than Cladophora sp. where the ratios removal were 42.3, 51.5, 77.1, 80.6 and 75% for total bacterial counts at 37ºC, 22ºC, total coliform, fecal coliform, and fecal streptococci, respectively. Also, the same results were obtained in this investigation where all bacteria tested were absent after 30 minutes in the presence of chlorine.

This data demonstrated that it could be possible to reduce the chlorine dose which used in water treatment for drinking water and lowest the amounts of trihalomethanes compounds.

Associations between Cladophora and microbial communities are not well understood, although some research has presented evidence of a relationship between Cladophora and bacilliform bacteria (The cell wall of Cladophora provides a suitable attachment and grazing surface for many other organisms, such as diatoms, protozoa, mollusks, rotifers, and   young crayfish, and links between bacteria and algae have been found frequently in aquatic environments (Richard, 2003). Few number of researches demonstrated the presence of fecal indicator bacteria, E. coli and enterococci, on Cladophora. Cladophora can be a secondary habitat for indicator bacteria that could potentially influence water quality (Matsuo, 2003; Richard, 2003; Ishii et al 2006)

Similarly, the data in this study were in the same line with Doke, et al. (2004) who found that the ratio removal of total bacterial counts were 75% in wastewater by Spirulina SP. Lodi et al. (2003) studied the removal of some pollutant materials from wastewater with S. platensis cultivation and concluded that biomass concentrations between 0.25 and 0.86 g/L result in larger removals of these pollutants.

With respect to the occurrence of some pathogenic bacteria and total mold in Nile water, data recorded in Table (5) which filtrated through Cladophora sp. and Spirulina platensis in the present chlorine with different doses (2 and 6 ppm).  The results show that Cladophora sp. could removed these pathogenic microbes with ratios 2.2, 2.9, 2.6, 3.2and 3.6% while Spirulina platensis can remove their with ratios 45.5, 62.1, 93.3,  56.3 and 50% for salmonellae group, Pseudomonas sp, total staphylococci, salmonellae group, yeasts and fungi, respectively. On the other hand, after filtration through algae and the chlorine treatment Nile water, these microbial were not detected after 10 and 30 minutes for 6 and 2 ppm of chlorine doses, respectively.  Also, the results shows that the pathogenic bacteria tested were more sensitive than  the mold as will as Staphylococci more resistant than Pseudomonas sp and salmonellae group.

These results are in the line with those obtained by Lodi et al. (2003) who reported that Cladophora and/or Spirulina platensis  can be used  an alternative to assist in the Nile water treatment, reducing the environmental impact caused by their pollutants. Also, these results are in agreement with those obtained by Ishii et al (2006) suggest that Cladophora is a likely secondary habitat for pathogenic bacteria ( E. coli, Shigella, Salmonella and Campylobacter) in lake Michigan and that association of these bacteria with Cladophora warrants additional to assess  the potential health impact on beach users.

From these results microbically are in the line with those reported by Egyptian standard for potable water. So, the aim of this study reduce the microbial by natural product (algae) as a filter with low cost and to reduce the carcinogenic material during water treatment processes for produce drinking water.

Table (4): Effect of Cladophora sp., Spirulina platensis and different doses (2 and 6 ppm) of chlorine on removal classical bacterial indicators in Nile water.

| Site | Log number of cell forming unit (cfu) / 100 ml |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | Total viable bacterial count at:- |  | Bacterial indicators (MPN-index) |  |  |
|  | 37 oC | 22 oC | TC | FC | FS |
| Nile water | 7.1 | 6.6 | 4.8 | 3.6 | 2.8 |
| Algae 1 | 6.2 | 5.2 | 3.2 | 3.2 | 1.9 |
| Removal (%) | 12.7 | 21.1 | 33.3 | 11.1 | 32.1 |
| Algae1+Cl2A |  |  |  |  |  |
| 0 time | 5.5 | 4.9 | 2.8 | 2.4 | 1.4 |
| 10 minutes | 2.2 | 1.8 | 0.7 | 0 | 0.7 |
| 30 minutes | 1.1 | 0.6 | 0 | 0 | 0 |
| 60 minutes | 0 | 0 | 0 | 0 | 0 |
| 120 minutes | 0 | 0 | 0 | 0 | 0 |
| Algae1+ Cl2B |  |  |  |  |  |
| 0 time | 5.9 | 5.3 | 2.9 | 2.8 | 1.8 |
| 10 minutes | 2.5 | 2.1 | 0.7 | 0 | 0.7 |
| 30 minutes | 1.1 | 0.6 | 0 | 0 | 0 |
| 60 minutes | 0 | 0 | 0 | 0 | 0 |
| 120 minutes | 0 | 0 | 0 | 0 | 0 |
| Algae 2 | 4.1 | 3.2 | 1.1 | 0.7 | 0.7 |
| Removal (%) | 42.3 | 51.5 | 77.1 | 80.6 | 75 |
| Algae2 + Cl2A |  |  |  |  |  |
| 0 time | 2.4 | 1.8 | 0.7 | 0.7 | 0.7 |
| 10 minutes | 1.1 | 0.2 | 0 | 0 | 0 |
| 30 minutes | 0 | 0 | 0 | 0 | 0 |
| 60 minutes | 0 | 0 | 0 | 0 | 0 |
| 120 minutes | 0 | 0 | 0 | 0 | 0 |
| Algae2 + Cl2B |  |  |  |  |  |
| 0 time | 3.9 | 2.9 | 0.7 | 0.7 | 0.7 |
| 10 minutes | 1.6 | 1.1 | 0 | 0 | 0 |
| 30 minutes | 0 | 0 | 0 | 0 | 0 |
| 60 minutes | 0 | 0 | 0 | 0 | 0 |
| 120 minutes | 0 | 0 | 0 | 0 | 0 |

Note:- log numbers were a average for 48 values.

Algea1:counts after filter by Cladophora sp.                       Algea 2:-counts after filter by Spirulina  platensis

Cl2 A:- chlorine dose 6 ppm           Cl2 B:- chlorine dose 2 ppm             TC:- Total coliform      FC:- Fecal coliform        FS:- Fecal streptococci

Table (5): Effect of Cladophora sp., Spirulina platensis and different doses (2 and 6 ppm) of chlorine on removal of some pathogenic microbial groups in Nile water.

| Treated samples | Log number of cell forming unit (cfu) / 100 ml |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | Salmonellae group | Pseud. sp. | Total Staph. | Total molds |  |
|  |  |  |  | yeasts | Fungi |
| Nile water | 2.2 | 2.9 | 2.6 | 3.2 | 3.6 |
| Algae 1 | 1.6 | 2.1 | 1.8 | 2.1 | 2.4 |
| Removal (%) | 27.2 | 27.6 | 30.8 | 34.4 | 33.3 |
| Algae1+Cl2A |  |  |  |  |  |
| 0 time | 1.0 | 0.8 | 1.1 | 0.4 | 0.6 |
| 10 minutes | 0 | 0 | 0 | 0 | 0 |
| 30 minutes | 0 | 0 | 0 | 0 | 0 |
| 60 minutes | 0 | 0 | 0 | 0 | 0 |
| 120 minutes | 0 | 0 | 0 | 0 | 0 |
| Algae1+Cl2B |  |  |  |  |  |
| 0 time | 1.1 | 1.1 | 1.5 | 1.4 | 1.8 |
| 10 minutes | 0.2 | 0.4 | 0.6 | 0.7 | 1.1 |
| 30 minutes | 0 | 0 | 0 | 0 | 0 |
| 60 minutes | 0 | 0 | 0 | 0 | 0 |
| 120 minutes |  | 0 | 0 | 0 | 0 |
| Algae 2 | 1.2 | 1.1 | 0.2 | 1.4 | 1.8 |
| Removal (%) | 45.5 | 62.1 | 92.3 | 56.3 | 50 |
| Algae2+Cl2A |  |  |  |  |  |
| 0 time | 0 | 0 | 0 | 0.4 | 0.6 |
| 10 minutes | 0 | 0 | 0 | 0 | 0 |
| 30 minutes | 0 | 0 | 0 | 0 | 0 |
| 60 minutes | 0 | 0 | 0 | 0 | 0 |
| 120 minutes | 0 | 0 | 0 | 0 | 0 |
| Algae2+Cl2B |  |  |  |  |  |
| 0 time | 0.2 | 0.4 | 1.1 | 1.5 | 2.1 |
| 10 minutes | 0 | 0 | 0.1 | 0.3 | 0.7 |
| 30 minutes | 0 | 0 | 0 | 0 | 0 |
| 60 minutes | 0 | 0 | 0 | 0 | 0 |
| 120 minutes | 0 | 0 | 0 | 0 | 0 |

Note:- log numbers were a average for 48 values.

Algea1:counts after filter by Cladophora sp.                      Algea 2:-counts after filter by Spirulina  platensis

Pseud. sp:- Pseudomonas sp        Total staph.:- total staphylococci      Cl2 A:- chlorine dose 6 ppm                                            Cl2 B:- chlorine dose 2 ppm

l

l

l

l

Fig(1).Design used in treating Nile water with Cl2 concentrations  A, B; algal biomass and combined treatment  effect  of algal biomass and Cl2 concentrations A=6 ppm, B=2 ppm/

References:

- Ali, G. H.; Badr, H. E.; Fouad, H. A. and El-hefny, R. M. (2008). Comparative Study on Natural Products Used for Pollutants Remov0al from Water. Journal of Applied Sciences Research, 5(8): 1020-1029.

- Ali, G. H.; El-Taweel, G. E.; Ghazy, M. M. and Ali, M. A. (2000). Microbiological and chemical study of the Nile river water quality. Intern. J. Environ. Studies, 58: 47- 69.

- Aly, M. S. and Amber, (2010). Chemical composition and potential application of Spirulina platensis biomass. J. American Science, 6(12): 480 – 488.

- APHA [American Public Health Association] (2005). Standard Methods for the Examination of Water and Wastewater 21th ed., Washington, D.C

- Bansal, R. C.; Donet, J. B. and Fritz, S. (1988). Active Carbon, Marcel Dekker, Inc. New York, Chap. 1.

- Barrette Jr., W. C.; Hannum, D. M.; Wheeler, W. D.  and Hurst, J. K. (1989). General mechanism for the bacterial toxicity of hypochlorous acid: abolition of ATP production. Biochem., 28: 9172 –9178.

- Boorman, G. A.; Dellarco, V.; Dunnik, J. K.; Chapin, R. E.; Huntr, S.; Hauchman, F.; Gardner, H.; Cox, M. and Sills, R.C. (1999). Drinking water disinfection byproducts: review and approach to toxicity evaluation. Environ. Health Perspect., 107(1): 207 – 217.

- British standard Institute (BSI), (2002). BSEN ISO 6579 incorporating corrigendum. No. 1.Microbiology of food and Animal Feeding Stuffs-horizontal method for the detection of salmonella spp. London: BSI.

- Carmichael, W.W. (1986). Isolation, culture and toxicity testing for toxic freshwater cyanobacteria (blue-green algae). In: Fundamental Research in Homogenous Catalysis. Ed. By V. shilo Gordon & Breach Publ., New York, pp: 1249.

- Darnell, D. W.; Greene, B.; Hosea, M.; Mcpherson, R. A.; Henzel, M. and Alexander, M. D. (1986). Recovery of metals from algae. In: Trace Metal Removal from Aqueous Solutions. Thompson, R. (Editors), Litho Ltd, Whitstable, Kentucky, US, pp. 1 – 24.

- Doke, J.; Kalyan Raman, V. and Ghole, V. S. (2004). Treatment of anaerobically digested wastewater using Spirulina sp. J Algae, vol. 6 pp. 7 – 14.

- Donovan, E. P., Staskal, D. F., Unice, K. M., Roberts, J. D., Haws, L. C., Finley, B. L., Harris, M. A. (2008). Risk of Gastrointestinal Disease Associated with Exposure to Pathogens in the Sediments of the Lower Passaic River. Appl. Environ. Microbiol. 74: 1004-1018

- Egyptian Standards (2007). Minister’s Office, Egyptian Standards for potable water, Dissection No. (458) Approved at 7 / 5 / 2007.

- EL-Taweel, G. E. (1998). Microbiological profile of raw Nile water.  Egypt. J. Pub. Hlth. Asso., LXXIII (5-6): 494 - 477.

- El-Taweel, G. E. and Shaban, A. M. (2003). Microbiological monitoring and evaluation of river Nile water at Cairo segment and Ismailia canal. Egypt. J. Microbial., 38(2): 169 – 182.

- Goncalves, A. B.; Russel, R.; Paterson, M. and Lima, N. (2006). Survey and significance of filamentous fungi from tap water. Intern. J. Hygi. Environ. Hlth., 209:  257 – 264.

- Horikoshi, T.; Nakajima, A. and Sakagushi, T. (1979). Studies on the accumulation of heavy metal elements in biological systems IV. Uptake of uranium by Chlorella regularis. Agric. Biol., 43: 617 – 623.

- Ishii, S.; Yan, T.; Shively, D. A.; Byappanaballi, M. N.; Whitman, R. L. and Sadowsky, M. J. (2006). Cladophora (Chlorophyta) spp. harbor human bacterial pathogens in nearshore water Lake Michigan. Appl. Environ Microbiol., 72(7): 4545 – 4553.

- Kargalioglu, Y.; McMillan, B. J.; Minear, R. A. and Plewa, M. J. (2002). An analysis of cytotoxicity and mutagenicity of drinking water disinfection by-products in Salmonella typhimurium. Teratogen. Carcin. Mutagen., 22: 113–128.

- Kelley. J.; Kinsey, G.; Paterson, R.; Brayford, D.; Pitchers, R. and Rossmore, H. (2003). Identification and control of fungi in distributed systems. Awwa Research Foundation and American Water Works Association, Denver.

- Komárek, J.T. and Anagnostidis, K. (1989). Cyanoprokaryota. I- Chroococcales, II- Oscillatoriales, III- Nostocales, Stigonematales, Stuttgart.

- Komárek, J.T. and Fott, B.  (1983). Das phytoplankton des SüBWasser, Systematik und Biologie. Chlorophyceae. Stuttgart.

- Lodi, A.; Binaghi, L.; Solisio, C.; Converti, A. and Del Borghi, M. (2003). Nitrate and Phosphate removal by Spirulina platensis. Journal of Industrial Microbiology and Biotechnology,  30(11): 656-660,

- Lu, W. Q.; Chen, X. N.; Yue, F.; Jenter, C.; Gminski, R.; Li, X. Y.; Xie, H. and Mersch-Sundermann, V. (2002). Studies on the in vivo and in vitro mutagenicity and the lipid peroxidation of chlorinated surface (drinking) water in rats and metabolically competent human cells. Mutat. Res., 513: 151–157.

- Matsuo, Y., M. Suzuki, H. Kasai, Y. Shizuri, and S. Harayama. (2003). Isolation and phylogenetic characterization of bacteria capable of inducing differentiation in the green alga Monostroma oxyspermum. Environ. Microbiol., 5:25-35.

- McKenna, S. M. and Davies, K. J. A., (1988). Bacterial killing by phagocytes: potential role(s) of hypochlorous acid and hydrogen peroxide in protein turnover, DNA synthesis, and RNA synthesis. Basic Life Sci., 49: 829–832.

- Mezzomo, N.; Saggiorato, A. G.; Siebert, R.; Tatschi, P. O.; Lagoi,   M. C.; Hemkemeier, M.; Costa, J. A.; Bertolin, T. E. and Colla, L. M. (2010). Cultivation of microalgae Spirulina platensis (Arthrospira platensis) from biological treatment of swine wastewater.  Ciênc. Tecnol. Aliment, Campinas, 30(1): 173-178.

- Phe, M. H.; Dossot, M. and Block, J. C. (2004). Chlorination effect on the fluorescence of nucleic acid staining dyes. Wat. Res., 38: 3729–3737.

- Plewa, M. J.; Kargalioglu, Y.; Vankerk, D.; Minear, R. A. and Wagner, E. D. (2002). Mammalian cell cytotoxicity analysis of drinking water disinfection by-products. Environ. Mol. Mutagen. 40: 134–142.

## Richard L. Whitman, Dawn A. Shively, Heather Pawlik, Meredith B. Nevers, and Muruleedhara N. Byappanahalli (2003). Occurrence of Escherichia coli and Enterococci in Cladophora (Chlorophyta) in Nearshore Water and Beach Sand of Lake MichiganApplied and Environmental Microbiology, 69( 8): 4714-4719.

- Rose, A.; Roy, S.; Abraham, V.; Holmgren, G.; George, K.; Balraj, V.; Abraham, S.; Muliyil, J.; Joseph, A. and Kang, G. (2006). Solar disinfection of water for diarrhoeal prevention in southern India. Arch. DI. Child., 91(2): 139–41.

- Rushton, A.; Ward, A. S. and Holdich, R. G. (1996). Introduction to Solid-Liquid Filtration and Separation Tedhnology. Wiley VCH. ISBN 978-3527286133.

- Salah, A. R. (2009). Bacteria and viruses in the Nile. Biomedical and Life Science, 89: 407 – 429.

- Shaban, A. M. and El-Taweel, G. E. (2002).  Fate of new indicators of pollution and payhogenic bacteria during water treatment systems. Egypt. J. Microbial., 37(1): 57 – 69.

- Shash, M. S.; Kamel, M. M.; Al-Wasify, R. S. and Samhan, F. A.  (2010). Rapid detection and enumeration of coliforms and Escherichia coli in River Nile using membrane filtration technique. Environmental Biotechnology 6(1): 6 – 10.

- Sips, H. J. and Hamers, M. N. (1981). Mechanism of the bacterial action of myeloperoxidase: increased permeability of the Escherichia coli cell envelope. Infect. Immun., 31: 11 – 16.

- Thomas, E. L. (1979). Myeloperoxidase, hydrogen peroxide, chloride antimicrobial system: nitrogen-chlorine derivatives of bacterial components in bacterial action against Escherichia coli. Infect. Immun., 23:  522– 531.

- Tsezos, M. and Volesky, B. (1988). Biosorption of uranium and Thorium. Bio-Techno. Bio-Eng., 23: 583 – 595.

1/2/2011